## Present Day Usage
Willits Area Imported Energy Usage, Present Day
[Off-grid & local generation (solar, hydro, wind, etc.) not considered]
rev. 04/12/05, bsc
Fuel | Annual Residential | Annual Non-Resid. | Total (annual) | Units | Unit Cost | Annual Value | Total (daily), Therms | Total Daily MegaWattHrs (MWh) | Average Daily per Person (KWh) | CO2 Emission Factor | Total CO2 Emissions (tons) | Fuel Source & Processing | Data Sources (see Notes)
Natural Gas | 0.91 | 0.87 | 1.78 | MT | 1200000 | 2136000 | 4876.7123 | 142.832 | 10.7376 | 11.7 | 10413 | 15% Calif., 24% Foreign (Canada); pipelined | 1, 2, 3, 7
Electricity | 37 | 28 | 65 | MKWh | 140000 | 9100000 | 6080.2603 | 178.0822 | 13.3876 | 1.43 | 46475 | 78% Calif. (Calif. Fuels: 33% natural gas, 13% nuclear, 12% hydro, 10% coal, 10% renewable), minor Foreign (Canada); transmission lines | non-resid=1, 12; resid=4; 8
Gasoline |  |  | 5626746 | Gallons | 2.5 | 14066865 | 17111.4741 | 501.1708 | 37.6763 | 19.8 | 55704.7854 | 42% Calif., 35% Foreign; pipelined, sea transport; in-state refineries | 3, 5, 10
Other Transportation Fuels (e.g. Diesel) |  |  | 838026 | Gallons | 2.5 | 2095065 | 3030.6694 | 88.764 | 6.673 | 19.8 | 8296.4574 | as above, negligible bio fuels | as above
Propane |  |  | 750000 | Gallons | 2.25 | 1687500 | 1397.2603 | 40.9238 | 3.0765 | 12.67 | 4751.25 | refined, generally from natural gas | 14
Firewood |  |  | 8423.25 | Cords | 175 | 1474068.75 | 3230.8356 | 94.6266 | 7.1137 | 0.996 | 10486.9463 | See note 16 | 6, 9
Total Daily Consumption: | [6 empty] | 35727.212 | 1046.3993 | 78.6648
Total Annual Value of Consumed energy: | [5 empty] | 30559498.75
Annual Cost [per Person], [per Household] of Total Fuels Consumed (note 11): | [5 empty] | 2297.3612 | 5986.1898
Percentage of Median After-tax Household Income Expended on Energy (note 13): | [6 empty] | 23.75%
Total Annual Emissions for Consumed Energy (tons): | [10 empty] | 136127.439
Annual CO2 Emissions [per Person], [per Household] in tons from above-noted fuels (notes 11, 15): | [10 empty] | 10.2336 | 26.6655
Abbreviations | [6 empty] | Peak consumptions
MT | MegaTherm (1 Million Therms) | [5 empty] | Natural Gas: | December, January (15%/mo of annual)
MW | MegaWatt (1 Million Watts) | [5 empty] | Electricity: | August, December, January (10%/mo of annual)
MKWh | MegaKiloWatt Hour (1 Billion Watts per hour, or 1 GigaWatt) | [5 empty] | Transp. Fuels: | August (8.9% of annual)
KWh | KiloWatt Hour (1 Thousand Watts per hour)
Transportation Fuel Emissions (lbs per gallon) (note 10)
Conversion Formulas | [6 empty] | Hydrocarbons (CxHy) |  | 0.15
1 KWh = 3414.3 BTU (British Thermal Units) | [6 empty] | Carbon Monoxide (CO) |  | 1.1
1 Therm = 100,000 BTU = 0.0293 MWh | [6 empty] | Carbon Dioxide (CO2) |  | 19.8
1 horsepower = 0.746 KiloWatts | [6 empty] | Nitrous Oxides (NOx) |  | 0.07
1 ton = 2000 lbs (pounds) | [6 empty] | Benzene |  | 0.004
Fuel Potentials (Obtainable) | [6 empty] | Willits Area Demographics (95490 zip code) (note 13)
Gasoline | 111000 | BTU/gallon |  |  |  |  | Population: |  | 13302
Grade 1 distil. fuels | 132000 | BTU/gallon | (e.g. diesel) |  |  |  | Households: |  | 5105
Biodiesel | 119000 | BTU/gallon |  |  |  |  | Pop. / Household: |  | 2.6057
Wood, dry | 5650 | BTU/lb | 14000000 | BTU/cord |  |  | Median Household Income: |  | 36000 | 25200 | (after tax liability of ~30%)
Propane | 1870 | BTU/ft3 | 68000 | BTU/gallon (1 gal liq. = 36.3ft^3 gas) |  |  | Approximate size |  | 321 miles ^2 | 206,000 acres
Sources & Notes
1. PG&E data for town of Willits | [6 empty] | 10. Emissions data source: Rocky Mountain Institute except firewood (OMNI Environmental)
2. Distribution of natural gas generally limited to town proper | [6 empty] | 11. Per-person impacts derived by dividing region total by population
3. California Energy Commission | [6 empty] | (thereby includes share of non-residential consumption)
4. Extrapolated from (3) figures for Mendocino County using (13) | [6 empty] | 12. Majority of business & industry located in town proper
5. US Department of Transportation, extrapolated for local population | [6 empty] | 13. US Census Figures, 2000
6. Mendocino Air Quality Management | [6 empty] | 14. Census of local dealers, Propane CO2 emissions in lbs/gallon
7. Gas costs set @ $1.20/Therm, CO2 emissions in lbs/Therm | [6 empty] | 15. When agricultural, commercial, industrial, mass transit and other common interests
8. Electricity costs set @ $0.14/KWh, CO2 emissions in lbs/KWh | [6 empty] | are considered, the per household annual share of GH gasses are estimated at 80 tons (source RMI).
9. 1 cord ~= 2500 lbs (128 ft^3), CO2 emissions in lbs/lb, conventional wood stove, 20% moisture | [6 empty] | 16. Wood source includes pellet fuel, firewood source undefined but majority likely from immediate area.
Greenhouse Gas Emissions & Fuel Cost Comparison by Common Energy Units Consumed:
Fuel | Cost Ranking (lowest=1) | Emissions Ranking (lowest=1) | Equiv Annual Qty | Units | Unit Cost | Annual Value | Equiv daily, Therms | Equiv daily MWh | CO2 Emission Factor | Total CO2 Emissions (tons)
Natural Gas | 2 | 1 | 0.365 | MT | 1200000 | 438000 | 1000 | 29.2886 | 11.7 | 2135.25
Electricity | 6 | 6 | 10.69 | MKWh | 140000 | 1496600 | 999.969 | 29.2877 | 1.43 | 7643.35
Gasoline | 4 | 4 | 328840 | Gallons | 2 | 657680 | 1000.034 | 29.2896 | 19.8 | 3255.516
Other Transp Fuels | 3 | 2 | 276485 | Gallons | 2.25 | 622091.25 | 999.891 | 29.2854 | 19.8 | 2737.2015
Propane | 5 | 5 | 536864 | Gallons | 2 | 1073728 | 1000.185 | 29.294 | 12.67 | 3401.0334
Firewood | 1 | 3 | 2607.36 | Cords | 165 | 430214.4 | 1000.0833 | 29.291 | 0.996 | 3246.1632
Possible conclusions that can be drawn from this comparison:
1) Petroleum products (except propane) are underpriced as is firewood
2) Electricity is overpriced and the GH gas emission not as closely controlled as we are led to believe
3) For conventional fuels, wood and wood waste (bio-mass), with a high-efficiency gassifier, is a possible locally-produced long-term fuel
4) Willits would do well to promote wider use of solar electricity due to the high GH gas content of that provided by PG&E

## Local Energy Vision
Willits Area Energy Vision
rev. 04/12/05, bsc
What can we do to reduce our dependence on 'foreign' energy?
The most important is to reduce and to conserve (e.g. the same as if you were installing alternative energy on your house)
Goal: Reduce our total community energy usage by 50% (ref. Present Day Table's 'Total Annual figure) by 2010
Remember, this would also reduce per-household expenditures providing potentially more $$ for the local economy.
10 Suggestions on How We Can Do This:
Individuals and Households: | [6 empty] | Willits Area Government and Community:
1. Drive smaller more efficient vehices. Drive the vehicle capacity needed for the trip. | [6 empty] | 1. Goal to have 80% of our community employment local by 2012 (reduce commuting, keep $$ local). Encourage by tax breaks and grants to entrepreneurial and other business startups and expansions.
2. Ride share when possible. Plan and combine multiple trips (and shop local when possible). Share or co-own special purpose and large capacity vehicles (e.g. vans, trucks, etc.). | [6 empty] | 2. Encourage industrial co-location (waste stream re-use, shared heating costs, etc.) through zoning and new business development advisory services.
3. Install an attic fan to help cool your house, prolonging the need to turn on the airconditioner in the summertime (savings 5-15%). | [6 empty] | 3. Scale building permit fees by energy efficiency and alternative/passive energy content. Question all building applications as to energy impacts.
4. Lower your thermostat in the winter (and raise in the summer). Heat/cool (and light) only the portion of the house being used. Consider a programable thermostat upgrade. (savings: >5%) | [6 empty] | 4. Expand the recycling center so that usable items (e.g. building materials) are segregated and purchasable [revenue stream pays for workers/program].
5. Buy EnergyStar appliances when upgrading home appliances (savings: 5-30%). Replace light bulbs with compact fluorescents (savings: 5%). | [6 empty] | 5. Promote existing (e.g. PG&E, CPUC) programs to increase household efficiency (insulation, thermostat settings & upgrades, compact fluorescent bulbs, EnergyStar appliance upgrades, etc.).
6. Consider solar hot water either to preheat or to replace existing hot water heater (savings: 15-30%). | [6 empty] | 6. Start a community-wide solar and alternative energy cooperative to ensure lowest prices and best advice. CCEnergy helped establish Sebastopol's and is interested in doing one here.
7. Consider solar / alternative electric for your house and take advantage of the rebate programs (typically 50%) for the same. | [6 empty] | 7. Promote and encourage ride sharing. Parking lot for the same? Evaluate local commute needs and determine if MTA schedule changes or additions could supplement.
8. Conserve water by fixing leaky faucets, upgrading toilets and installing irrigation drippers and timers. | [6 empty] | 8. Locate and administer grants for local co-generation startups (bio-waste gassifiers, etc.). Outside funding sources include the PUC, SBA.
9. Employ local businesses and labor. Use local products (when building, etc.). | [6 empty] | 9. Locate and administer electric vehicle incentives (including city vehicles). Expand vehicle charging stations (number of).
10. Recycle building waste as well as your other 'junk' -- one person's trash is another's treasure! | [6 empty] | 10. Take ownership of the local electric grid and create a community-owned power company [call for article on process]. This will also reduce electric costs to the community and greenhouse gasses from electricy production we use. It will also keep the revenue stream local for future expansion. This is an important aspect for local electricity/fuels generation as follows below
OK, now that we have reduced our 'foreign' energy dependency, what can we do to produce the remaining needs locally?
We have 3 good resources to start with -- good solar insolation, good land, abundant biowaste -- each with a role in meeting our energy needs..
Bio Fuels from BioWaste (e.g. mill waste and forest undergrowth clearing) and Sustainable Forest Harvesting
1 acre provides approximately 10,000 linear board feet of wood and approximately 100 ft^3 of usable process residue (notes 1, 2)
To harvest sustainably, restrict harvest to 1%/acre/year. This gives us ~93ft^3/acre/year harvestable.
DougFir has a weight of 28lbs/ft^3, a good medium for the range of species in our woodlands.
This equates to 2600lbs of harvestable wood fuels / acre / year.
Given an obtainable energy of ~5600 BTU/lb (see prev. table), this translates into 145 Therms or 4.27 MWh per acre per year.
Based on this, reasonable production would be (per acre/per year) |  |  |  | 145 | Therms | or | 4.27 | MWh
On-going Costs: labor & processing costs, combustion emissions
Potential fuel use: electricity generation, liquid fuel and heat generation (e.g. steam-> community buildings)
Startup Vision: Experimental gassification plant -> electricity co-generator, near recycle center
Bio Fuels from Crops (i.e. oil crops)
Oil Crops & Annual Yields (note 3): |  |  | Cost to farm: |  | 8.75 gallons/acre
Soybean | 40 | Gallons/acre/year | Cost to process: |  | est. 1% of production (reaction chemicals of alcohol, lye, etc.) plus labor
Mustard | 140 | "
Rapeseed | 110-145 | " | BioFuels generally classified in terms of Energy Balance (units of energy out to energy units cost to produce)
Algae | 10,000-20,000 | " | Biodiesel | 3.24 | based on soybean crops -- the lowest of the yields
|  |  | Ethanol | 1.25
Note: to use straight vegetable oil still requires (bio)diesel to start the engine.
Biodiesel has an obtainable energy of ~119,000 BTU/gallon, 1.19 Therm/gallon, 0.03487 MWh/gallon (see prev. table).
Rapeseed or Mustard (locally-producable crops)
120 gallons/acre (costs removed as share of production) converts to 154.7 Therms or 4.53 MWh per acre per year.
Algae (experimental, UNH)
10,000 gallons/acre ( " " " " ) converts to 11,900 Therms or 348.7 MWh per acre per year.
Based on this, reasonable production would be (per acre/per year) |  |  |  | 154.7 | Therms | or | 4.53 | MWh
On-going Costs: fertilizers, labor and fuels; reduction of potential crop lands (note 7), emisions (note 6)
Potential fuel use: transportation/vehicle fuels, heating oils; mustard remainders can be used for natural pesticides.
Startup Vision: Experimental algae farm in or near new water treatment facility?
Solar Energy
20% losses (insolation, wiring, etc.) with a goal of 100 watts per panel means a 125W panel for our basis.
125 Watt panel has a dimension of ~25" x 60".
Setting the angle at 45 degrees (max), and the panel along its long axis, the working flat-area dimensions (per panel) are 60" x 38" [use 5' x 3'].
This gives us 40 panels wide (on the 5' dimension) and 65 panels long (on the 3' dim) per acre or 2600 panels total/acre (notes 4, 5).
For this region, our average solar insolation is 4.5 hours x 260 KW gives us 1.17 MWh/day potential.
Based on this, our production would be (per acre/per year) |  |  |  | 14570 | Therms | or | 427 | MWh
On-going Costs: quarterly panel cleaning labor, potential loss of usable land if indiscriminate placement.
Potential fuel/energy use: PG&E replacement, electric vehicle refueling
Startup Vision: Installation on existing large community & industrial buildings and contaminated lands (re. REMCO), ongoing community funded
and tied into a community owned electric company (e.g., build it a little at a time).
Solar & Geo Thermal Energy
Generally the thermal energy generated by either solar or geo does not transport well and is better suited for point-of-use
(i.e. individual households or business clusters).
Given a figure of 20% of total households to be used for Solar Thermal, single collector (to account for those without good exposure) [1021 houses],
80% of commercial and public buildings with 3 collectors average [100 buildings] and given a average efficiency of ~20,000 BTU/day for a 32 ft2 solar collector;
this would yield ~7.7 MWhr/day of equivalent energy.
Based on this, our production would be (total/per year) |  |  |  | 95921.502 | Therms | or | 2810.5 | MWh
On-going Costs: quarterly panel cleaning labor, potential loss of usable land if indiscriminate placement.
Potential fuel/energy use: Residential, commercial or public building heating and hotwater. Possible cooling
Startup Vision: Installation on existing buildings as noted., ongoing owner- funded and initiated.
BioDigesters
This potential energy source was considered but due to the redesign of the Willits sewage plant (to an open wetlands, aerobic process)
and the lack of an active landfill in the area, there is not a viable bi source except at the individual level.
Hydroelectric
There are 2 styles of hydroelectric systems that can be considered for the Willits area : 1) Continuous flow based and 2) Stored hydro.
For Stored Hydro; The water flows from an upper reservoir to a lower generating electricity at peak rates. At off-rate times, the water is pumped back up.
Generally, the electricity rate structure needs to approach 4:1 to be cost effective (e.g. $0.08/KWhr off peak to $0.32/KWhr peak rate).
For Continuous-flow Hydro, the advantage hydro has over solar is that it produces 24 hours a day (at least in the ‘wet’ season). The disadvantage
are the environmental considerations, specifically the disruption of the stream bed, and where applicable, the impact on native fisheries.
Stored hydro, since it would be implemented on a developed water system (with existing piping), is viable and can potentially be
developed for marginal costs. The problem is the capacity of the reservoirs, estimated pipeline flow and pumping costs would only
provide a nominal generation capacity. A guestimate is that this would result in a net generation of ~7KWhr/day.
Wind
Little Lake Valley, due to its geology, is a poor site for wind-powered generators. However, there are 2 potential sites off the valley floor,
one at the highway 20 pass going to Fort Bragg and the other at the Ridgecrest CDF station.
Let’s say we can site 6 x 1-MWhr hours units between these two locations and that the average wind speed is 75% of the rating for the units.
This gives us a generating capacity of 4.5 MW. Running 24 hours a day will give us 108 MWhr/day.
Based on this, our production would be (total/per year) |  |  |  | 1345392.5 | Therms | or | 39420 | MWh
On-going Costs: Periodic maintenance and cleaning (minimal).
Potential fuel/energy use: PG&E replacement, electric vehicle refueling
Startup Vision: Installation at sites as noted following sufficient site evaluation
So Can We Generate Our Energy/Fuel Needs Locally?
With conservation and planning (to reduce our present energy needs), and proper land management (with respect to arable food production
lands and water resources), it is possible to produce such needs locally. A rough estimate is that we would need up to 1000 acres, investments
of up to $1 million per acre (i.e. solar), and employment of roughly 100 people full time to manage and process the mix of energy/fuel products.
To get started, the local government needs to take the steps to move the electric grid to community ownership and to start considerations towards
land use zoning and allocation of potential lands that could be used to site such facilities. Grants and private business partnerships need also
be considered to mitigate community financial impact. It would be an incremental, long-term transition (and commitment) but we need to start the transition soon..
Sources and Notes
1. US Forestry Service
2. 1 linear board foot = 12"x12"x1", therefore 12 board feet = 1 ft^3
3. University of New Hampshire Biodiesel Group, WWW's Wikipedia
4. 1 acre is ~206' square
5. The land the solar panels would be on would be unusable for other purposes (e.g. roofs)
6. Biodiesel emissions compared to dino-diesel are: CO=0.5, CO2=0.78, particulates=0.65
7. The conversion of any land to algae ponds is a dramatic conversion that also requires large water resources as well
-- the impact of doing such would require further studies.

## Energy Transition
Envisioned Future
[Existing off-grid & personal generation (solar, hydro, wind, etc.) not considered]
rev. 04/12/05, bsc
Envisioned Fuel / Energy Source | Total (annual) | Units | Total (daily), MWhr | Primary (present-day) Fuels Replacing | Target Usage | Implementation Strategy | Production Strategy | Notes
Wood Biowaste | 2372.5 | MWhr | 6.5 | Electricity, local natural gas & propane | Residential, commercial & public facilities, electric vehicles. Local area heating. | Joint public-private venture & funding. | Local utility company to ensure credit for excess production.
Oil Biocrops | 20000 | Gallons | 1.9098 | Gasoline (vehicle conversion), diesel | Public transportation, emergency vehicles | Entrepreneurial (SBA grants, etc.) | Small business, market-driven | Transitional fuel as food needs will require crop lands employed
Solar Electric | 13870 | MWhr | 38 | Electricity, some propane & natural gas | Residential, commercial & public facilities, electric vehicles | Commercial and residential by owner-driven install with co-op, tax and rebates. City/public via grants, permit fees & public utility revenues. | Net-metering initially, owner-driven install. Long-term as part of local utility to ensure credit for excess per-site production.
Solar & Geo Thermal | 2810.5 | MWhr | 7.7 | Natural gas, propane as used for heating | Residential, commercial & public facilities | Owner-driven install, with co-op, tax and rebates. | Point-of-use only
Hydro Electric | 2.55 | MWhr | 0.0069863 | Electricity, some propane & natural gas | Residential, commercial & public facilities, electric vehicles | Public utility funding (grants, funds from carbon taxes, etc.) | Local utility company to ensure credit for excess production. | Use of other energy sources for pumped storage off-peak.
Wind | 39420 | MWhr | 108 | Electricity, some propane & natural gas | Residential, commercial & public facilities, electric vehicles | Public utility funding (grants, funds from carbon taxes, etc.) | Local utility company to ensure credit for excess production.
Firewood | 16846 | Cords | 189.2476 | Same (firewood) | Residential heating & cooking, small-scale gassification for small engine/vehicles | Stove upgrades will be needed to mitigate particulate pollution [EPA grants?] | As present | This is a 100% increase over present use to offset propane and natural gas loss.
Total Estimated Production: |  |  | 351.3643
50% Present-day consumption*: |  |  | 523.1997
*25% of this is stil transportation fuels!